INDEX TERMS - DETAILS
This document is intended for reference rather than input to design software

[INDEX TERM] Abrasion
[PRODUCT] 42-5305/02 (Los Angeles Abrasion Machine)
[PRODUCT] 42-5310/06 (Los Angeles Abrasion Machine with CE Safety Cabinet W/ Microswitches.  220-240V 60Hz 1Ph.)

[INDEX TERM] Abrasive
[PRODUCT] 82-8950/12 (Diamond Blade)

[INDEX TERM] Adaptor(s)
[PRODUCT] 23-1577 (38mm Diameter Sample Tube 230mm Long Complete with End Caps.)
[PRODUCT] 23-4300 (Adaptor Plate for 23-4250 to Extrude 100mm/4 Inch Diameter and Marshall Specimens.)

[INDEX TERM] ADR
[PRODUCT] 36-0720/01 (ADR Touch 1500 Compression Machine with Digital Readout.)
[PRODUCT] 36-0720/K (ADR 1500 Standard Spares Kit)
[PRODUCT] 36-3090/01 (ADR Touch 2000 Standard Compression Machine with Digital Readout.)
[PRODUCT] 36-3090/K (ADR 2000 Standard Spares Kit)
[PRODUCT] 36-3280/01 (ADR Touch 2000 BS EN Compression Machine with Digital Readout and Self Centring Platens.)
[PRODUCT] 36-3280/K (ADR 2000 BS Spares Kit)
[PRODUCT] 36-3320/01 (ADR Touch 3000 BS EN Compression Machine with Digital Readout and Self Centring Platens.)
[PRODUCT] 36-4125/01 (ADR-Auto V2.0 2000 Standard Compression Machine)
[PRODUCT] 36-4125/02 (ADR-Auto V2.0 2000 Standard Compression Machine)
[PRODUCT] 36-4125/06 (ADR-Auto V2.0 2000 Standard Compression Machine)
[PRODUCT] 36-4150/01 (ADR-Auto V2.0 2000 BS Compression Machine)
[PRODUCT] 36-4150/06 (ADR-Auto V2.0 2000 BS Compression Machine)
[PRODUCT] 36-4155/01 (ADR-Auto V2.0 BS EN 2000/250kN Compression Machine)
[PRODUCT] 36-4155/06 (ADR-Auto V2.0 BS EN 2000/250kN Compression Machine)
[PRODUCT] 36-4165/01 (ADR-Auto V2.0 3000 BS EN Compression Machine)
[PRODUCT] 36-4165/06 (ADR-Auto V2.0 3000 BS EN Compression Machine)
[PRODUCT] 36-4165/K (ADR Auto 3000 BS Spare Kit)
[PRODUCT] 36-4170/01 (ADR-Auto V2.0 BS EN 3000/250kN Compression Machine)
[PRODUCT] 37-4856/09 (ADR TOUCH  Digital Readout Unit)
[PRODUCT] 37-4880/01 (Console Assy ADR-Auto V2.0)
[PRODUCT] 37-4950/09 (ADR Touch Head for Compression machines)
[PRODUCT] 37-4990/09 (ADR Touch Head Kit to upgrade manual compression machines)
[PRODUCT] 39-6160/01 (ADR-Auto V2.0 250/25 Cement Machine C/W Compression and Flexural Jigs and Platen Sets)
[PRODUCT] 39-6160/06 (ADR-Auto V2.0 250/25 Cement Machine C/W Compression and Flexural Jigs and Platen Sets)
[PRODUCT] 39-6160/K (ADR Auto 250/25 Spares Kit)

[INDEX TERM] Aggregate(s)
[PRODUCT] 23-3390 (Aggregate Scoop Pan)
[PRODUCT] 42-4000 (Aggregate Impact Value Apparatus Complete with 16mm Dia X 600mm Long Rod)
[PRODUCT] 42-4300 (150mm Aggregate Crushing Value Apparatus. Supplied Complete with Metal Measure and Tamping Rod.)
[PRODUCT] 42-4500 (75mm Aggregate Crushing Value Apparatus. Supplied Complete with Metal Measure and Tamping Rod.)
[PRODUCT] 80-0400/01 (Aggregate Screen Shaker - Manual Operation - 230vAV)
[PRODUCT] 80-0400/02 (Aggregate Screen Shaker - Manual Operation - 115vAV)
[PRODUCT] 80-0405/01 (Aggregate Screen Shaker - Hydraulic Operation 230vAC)
[PRODUCT] 80-0405/02 (Aggregate Screen Shaker - Hydraulic Operation 115vAC)

[INDEX TERM] Air
[PRODUCT] 34-3265 (Air Entrainment Meter B Type Complete with Carrying Case. Supplied with Aluminium Tamping Bar.)
[PRODUCT] 38-0320/01 (Air Compressor)
[PRODUCT] 38-7087 (Air Entrainment Meter)
[PRODUCT] 83-1730/01 (Air Compressor)
[PRODUCT] 83-1735/01 (Air Compressor)

[INDEX TERM] Annular surcharge weights
[PRODUCT] 24-9214 (2Kg Annular Surcharge Weight)
[PRODUCT] 24-9243 (4.5Kg Annular Surcharge Weight ASTM.)
[PRODUCT] 24-9245 (5 Lb. Annular Surcharge Weight ASTM.)
[PRODUCT] 24-9320 (10Lb (4.5Kg) Annular Surcharge Weight.)

[INDEX TERM] Anvil, testing
[PRODUCT] 35-1530 (Testing Anvil)

[INDEX TERM] Auger(s)
[PRODUCT] 23-1378 (Basic Auger Kit)
[PRODUCT] 23-1380 (Regular Auger)
[PRODUCT] 23-1382 (Mud Auger)
[PRODUCT] 23-1384 (Sand Auger)
[PRODUCT] 23-1386 (Dutch Auger)
[PRODUCT] 23-1389 (Auger Extension 60")
[PRODUCT] 23-1391 (3" Diameter Post Hole Auger)
[PRODUCT] 23-1392 (4" Diameter Post Hole Auger)
[PRODUCT] 23-1393 (6" Diameter Post Hole Auger)
[PRODUCT] 23-1397 (Auger Extension 36")
[PRODUCT] 23-1400 (ELE Hand Auger)
[PRODUCT] 23-1400/10 (3-1/4" Auger Head)
[PRODUCT] 23-1400/12 (Auger Extensions 36")
[PRODUCT] 23-1410/14 (Auger for Oakfiled Soil Sampling)
[PRODUCT] 23-1501 (100mm Dia Soil Auger Head)
[PRODUCT] 23-1504 (150mm Dia Soil Auger Head)
[PRODUCT] 23-1517 (150mm Dia Gravel Auger Head.)
[PRODUCT] 23-1525 (50mm Dia Dutch Soil Auger Head.)
[PRODUCT] 23-1617 (Spiral Auger 40mm Diameter. One Piece Model)
[PRODUCT] 29-5500 (Portable Dynamic Cone Penetrometer/Auger Set)
[PRODUCT] 510-078 (Edelman Auger 50mm Dia)
[PRODUCT] 510-080 (Edelman Auger 70mm Dia)
[PRODUCT] 510-082 (Edelman Auger 100mm Dia)
[PRODUCT] 510-086 (Riverside Auger 70mm Dia)
[PRODUCT] 510-088 (Riverside Auger 100mm Dia)
[PRODUCT] 510-092 (Auger for Stony Ground 70mm Dia. One Piece Model)
[PRODUCT] 510-100 (Gouge Auger 30 mm dia.)
[PRODUCT] 510-104 (Root Auger 80mm dia. )
[PRODUCT] 510-112 (Edelman 70mm Clay Auger)
[PRODUCT] 510-113 (Edelman 100mm Clay Auger.)
[PRODUCT] 510-114 (Edelman 40mm Combination Auger.)
[PRODUCT] 510-115 (Edelman 70mm Combination Auger.)
[PRODUCT] 510-116 (Edelman 100mm Combination Auger.)
[PRODUCT] 510-117 (Edelman 70mm Sand Auger.)
[PRODUCT] 510-118 (Auger for stony ground.)
[PRODUCT] 510-119 (Spiral Auger)
[PRODUCT] 510-120 (Peat Auger Set.)
[PRODUCT] 510-124 (Hand Auger Set 5M.)
[PRODUCT] 510-128 (Hand Auger Set 7m.)

[INDEX TERM] Autoclave method for soundness of Portland cement
[PRODUCT] 38-3800/01 (Autoclave)

[INDEX TERM] Autocomp 100A, BS
[PRODUCT] 45-6600/01 (AutoComp 100-A)

[INDEX TERM] Automatic

	[INDEX TERM] Compaction
	[PRODUCT] 45-6310 (Compaction Mould)

[INDEX TERM] Bag(s), various
[PRODUCT] 23-1420 (Sample Bag - 10” x 18” (254 x 457 mm))
[PRODUCT] 23-1422 (Sample Bag - 17” x 32” (432 x 813 mm))
[PRODUCT] 81-4765 (Polythene Bag - Pack of 100)
[PRODUCT] 81-4775 (Polythene Bag - Pack of 50)

[INDEX TERM] Balance(s)

	[INDEX TERM] buoyancy
	[PRODUCT] 34-8100/02 (ELE Buoyancy Balance)
	[PRODUCT] 34-8100/09 (Buoyancy Balance)
	[PRODUCT] 42-1000/01 (Buoyancy Balance 6Kg X 0.1G. Supplied with Support Frame Water Tank & Suspension Hook.)

	[INDEX TERM] electronic, laboratory
	[PRODUCT] 23-7452/12 (Portable Electronic Balance)
	[PRODUCT] 78-5335/01 (Electronic Balance - 220g x 0.001g)
	[PRODUCT] 78-5405/01 (Electronic Balance - 620 g x 0.001 g)
	[PRODUCT] 78-5447/01 (Electronic Balance - 3600g x 0.01g)
	[PRODUCT] 78-5456/01 (Electronic Balance - 4600 g x 0.01 g)
	[PRODUCT] 78-5457/01 (Electronic Balance - 8 000 g x 0.1 g)
	[PRODUCT] 78-5477/01 (Electronic Balance - 16 000 g x 0.5 g)
	[PRODUCT] 78-5485/01 (Electronic Balance -  8000 g x 0.2 g)
	[PRODUCT] 78-5527/01 (Electronic Balance - 32 000 g x 1.0 g)
	[PRODUCT] 78-5655/01 (Electronic Balance - 75 Kg x 5.0g)
	[PRODUCT] 78-5666/01 (Electronic Balance - 75,000 g x 20.0 g)
	[PRODUCT] 88-1024/02 (Ohaus Electronic Balance - 310 g Capacity)
	[PRODUCT] 88-1034/02 (Ohaus Electronic Balance - 810 g Capacity)
	[PRODUCT] 88-1044/02 (Ohaus Electronic Balance - 2,100 g Capacity)
	[PRODUCT] 88-1054/02 (Ohaus Electronic Balance - 3,100 g Capacity)
	[PRODUCT] 88-1074/02 (Ohaus Electronic Balance - 6,000 g Capacity)
	[PRODUCT] 88-1084/02 (Ohaus Electronic Balance - 8,100 g Capacity)
	[PRODUCT] 88-1094/02 (High Capacity Electronic Balance)
	[PRODUCT] 88-1098/02 (Ohaus Electronic Balance - 24,000 g Capacity)
	[PRODUCT] 88-1104/02 (Ohaus Electronic Balance - 35,000 g Capacity)
	[PRODUCT] 88-1200/02A (Ohaus Electronic Balance - 210 g Capacity)
	[PRODUCT] 88-1210/02A (Ohaus Electronic Balance - 810 g Capacity)
	[PRODUCT] 88-1220/02A (Ohaus Electronic Balance - 2,100 g Capacity)
	[PRODUCT] 88-1230/02A (Ohaus Electronic Balance - 8,100 g Capacity)

	[INDEX TERM] harvard trip
	[PRODUCT] 78-7090 (Harvard Trip Balance)
	[PRODUCT] 78-7110 (Weights for Harvard Trip Balance)

	[INDEX TERM] heavy duty solution
	[PRODUCT] 78-7600 (Heavy-duty Solution Balance)

	[INDEX TERM] triple beam
	[PRODUCT] 78-7140 (Triple Beam Balance)
	[PRODUCT] 78-7142 (Triple Beam Scale - 2,610 g Capacity; with Undivided Tare Beam, Tares up to 225 g)

[INDEX TERM] Ball

	[INDEX TERM] assembly
	[PRODUCT] 37-6133 (Ball Seating Assembly 150mm Dia Platens.)

	[INDEX TERM] seating attachment
	[PRODUCT] 24-9300 (Ball Seating for EL 24-9290 45 kN Jack)

[INDEX TERM] Base adaptor, specimen (triaxial cells)
[PRODUCT] 25-4047 (50mm Triaxial Cell 1700Kpa with 5 Pressure/ Drainage Ports. Supplied with Two Valves.)
[PRODUCT] 25-4117 (70mm Triaxial Cell 1700Kpa with 5 Pressure/ Drainage Ports. Supplied with Two Valves.)
[PRODUCT] 25-4157 (100mm Triaxial Cell 1700Kpa with 5 Pressure/ Drainage Ports. Supplied with Two Valves.)

[INDEX TERM] Baseplate
[PRODUCT] 24-9202 (BS Perforated Base Plate.)
[PRODUCT] 24-9210 (Base Plate Tool for BS Mould)
[PRODUCT] 34-0160 (Base Plate for Slump Test.)
[PRODUCT] 42-6200 (Base Plate for Skid Resistance Tester for lab testing)