|  | Porous Disc 38mm/1.5 Inch Diameter. Pack of 2. Code: 25-5181 Product Group: Accessories for CU/CU effective stress, Porous Stones Porous disc For 38 mm/1.5 Inch samples (Pack Of 2). |
| --- | --- |