|  | 535 Asphalt Probe Code: 47-0202/11 Product Group: Digital Asphalt Thermometer Has a heavy-duty and reinforced needle probe. It is built with a t-shaped polyethylene handle and has a maximum tip temperature of 250°c and a 500 mm long probe. |
| --- | --- |

Standards

BS 2000-49, EN 1426, EN 13179-2, ASTM D5, AASHTO T49, IP 49

Further Information

**NOT AVAILABLE FOR SALE IN THE USA**

| Specification |
| --- |
| Max Reading | 250°C |
| Length of probe | 500 mm |
| Tip diameter (needle point) | 100 mm |