|  | Thermometer Code: 82-5272 Product Group: Non Hazardous Glass Thermometers, Ring and Ball Apparatus Mercury-free with a range of -10.0°C to + 210.0°C and graduated every 1°C. Immersion up to 76 mm |
| --- | --- |

Standards

EN 1427, BS 2000-58

Further Information

**NOT AVAILABLE FOR SALE IN THE USA**