|  | Asphalt Sample Ejector Code: 45-6480 Product Group: Asphalt Sample Ejector |
| --- | --- |

Standards

ASTM D6926, AASHTO T245

Further Information

For 4" diameter asphalt specimens.

| Specification |
| --- |
| Capacity | 4â (101.6 mm) l. |
| Pushing Force | 6,000 lbf. (26.7 kN). |
| Jack | Hydraulic; hand-operated; 7â (178 mm) stroke; spring return. |
| Construction | All metal; plated extrusion plates and piston discs; painted finish on housing and pump. |
| Dimensions | 10-3/8â w. x 8â d. x 23-3/8â h. (264 x 203 x 594 mm). |
| Weight | Net 60 lbs. (27 kg). |