|  | ASPHALT DUCTILOMETER WITH DATA ACQUISITION 3 SAMPLES Code: SPL00092 Product Group: N/A Ductilometer with data acquisition - Variable speed range from 1 to 400 mm/min with digital displacement measuring system. - Up to 3 samples can be tested simultaneously. - Single, high capacity load cell 500 N (its is possible to install more at a later stage. - Automatic positioning test start - Visualisation of the elongation in mm - Visualisation of the load/elongation - Max elongation before sample failure Temperature setting and visualization of the test execution with continuous recording during the test - Test certificate print-out (USB connector or local printer) - Glass upper cover. Supplied WITHOUT briquette mould and base Power supply: 230V 1ph 50Hz 1000W Dimensions: 2140x400x450mm |
| --- | --- |