|  | Chloride Field Test System Code: 35-2167 Product Group: Chloride Field Test System |
| --- | --- |

| Specification |
| --- |
| Meter | Battery powered, high impedance electronic meter with temperature compensation circuits and microprocessor for direct conversion to percent of chloride. |
| Electrode | Chloride combination type with externally mounted temperature sensor, cable and connectors. |
| Components | 12 jars (20 ml each) of extraction liquid, 5 jars of colored calibration liquid, 1 jar of wetting agent, spray bottle, collection pan and blower, clamping pliers, drill bit and anchors, scales and carrying case. |
| Weight | Net 10 lbs. (5 kg). |