|  | Laboratory Conductivity Meter with Conductivity Cell Swing Arm Electrode Holder and Manual. Code: 525-180/01 Product Group: General laboratory instrumentation • 5 measurement ranges. • Automatic temperature compensation. • Recorder output. This easy-to-use instuemtnmeasures conductivity over 5 ranges. Readings are automatically temperature compensated with a choice of either 20 or 25°C as a reference temperature. A zero control on the 20 micro Siemen range enables the elimination of cable capacities so ensuring accurate results. The unit has been designed for use with the range of conductivity cells specified, all of which are temperature compensated. However, other cells can be used in conjunction with the temperature compensation probe. |
| --- | --- |

Further Information

Supplied complete with probe holder and conductivity level (K=1) and full operating instructions.

| Spares/Consumables |
| --- |
|  | Conductivity Cell K=1. Code: 525-180/10 |