|  | Concrete Cyl. Compressometer - English Code: 37-5625 Product Group: Concrete Cylinder Compressometer-Extensometer With English reading dial indicators. |
| --- | --- |

Standards

ASTM C469

| Specification |
| --- |
| Sample Size. | 6" diam. x 12" l. (152 x 305 mm) |
| Frame | Aluminum-magnesium alloy. |
| Contact Points. | Steel. |
| Control Rods. | Stainless steel. |
| Dial Indicators. | Two included. |
| Readability. | to 50 micor inches (0.00124 mm). |
| Weight. | Net 15 lbs. (6.8 kg). |