|  | Double Wall Laboratory Oven - 0.7 cu. Ft. Capacity - 115vAC Code: 88-0200/02 Product Group: Double Wall Laboratory Ovens 115vAC, 50/60 Hz, 1ø. |
| --- | --- |

| Specification |
| --- |
| Capacity | 0.7 cu. ft. (19.8 liter). |
| Chamber Size | 12 â w. x 10â d. x 10â h. (305 x 254 x 254 mm). |
| Temperature Range | 225 Â°C (43 7Â°F) maximum. |
| Shelves | Two included. |
| Thermometer | One included. |
| Overall Dimensions | 14 â w. x 12 â d. x 17â h. (35 6 x 305 x 432 mm). |
| Weights | 41 lbs. (18.6 kg). |