|  | Compaction Mould Code: 45-6310 Product Group: Accessories for manual and automatic compaction, Asphalt Compaction Mould Comprising of mould body, baseplate and combined filling/extraction collar. |
| --- | --- |

Standards

EN 12697-30, ASTM D6926, AASHTO T245

| Specification |
| --- |
| Construction | Machined seamless steel forming mold; base and collar. |
| Finish | Plated for rust resistance. |
| Dimensions | 4” (101.6 mm) i.d. x 3” (76.2 mm) internal h. with base. |
| Weight | Net 6 lbs. (2.7 kg). |