|  | 8inDia ASTM Sieve 6.30mm Stainless Steel Mesh. Code: 79-5000 Product Group: U.S Standard Testing Sieves, 8" Diameter ASTM Sieves, 8" Diameter ASTM Sieves, 8" Diameter ASTM Sieves |
| --- | --- |

Standards

ASTM E11

| Specification |
| --- |
| Frames | Full height; 2â (51 mm) depth to mesh. |
| Construction | Polished and lacquered brass with S.S. mesh. |
| Nameplates | Show standard, alternate and Tyler Screen Scale equivalent designations. |
| Weights | Net 1 lb. (453 g). |
| Sieve Size or Number | 1/4" |
| Sieve Opening Standard | 6.3 mm |
| Sieve Opening Alternative (in.) | 0.25 |