|  | Mechanical Dial Indicator - 25 mm Range Counter Clockwise Movement Code: 88-4130 Product Group: Mechanical Dial Indicators, Pneumatic Consolidation Apparatus, Table Top Consolidation Apparatus |
| --- | --- |

| Specification |
| --- |
| Range | 25 mm |
| Divisions | 0.1 mm |
| Movement | Counter-clockwise |
| Face Diameter | 57 mm |
| Contact Point | Immediate response, up or down; tip movement magnified to indicator hand with minimal friction; 3/16” (5 mm) radius x 1/4” (6 mm) l. |
| Dials | With continuous graduations and revolution counters. |
| Measure Movement | Measure movement away from dial case; pointer at zero with stem retracted. |
| Weight | Net 12 oz. (34 0 g). |