|  | ELE Flame Photometer Code: 38-0200/01 Product Group: ELE Flame Photometer Special Note: The Flame Photometer requires a source of moisture-free air at 6 litres/minute at a pressure of 1 kg/cm². It also requires a fuel source for the flame and a regulator (see accessories). |
| --- | --- |

Standards

EN 196-21, ASTM C114, TEST 17

Further Information

**NOT AVAILABLE FOR SALE IN THE USA** For 220-240 V AC, 50-60 Hz, 1 ph

| Specification |
| --- |
| Dimensions (l x w x h) | 420 x 360 x 300 mm |
| Readout | LED three 12.5 mm digits |
| Sensitivity Na K Ca | 3 to 100 ppm 3 to 100 ppm 5 to 100 ppm (optional filter) |
| Reproducibility | 1% CV for 20 consecutive samples using 10 ppm, set to read 100 |
| Recorder Output | Nominal 1.00 V for a reading of 100.0 |
| Weight | 8 kg |