|  | Double Ring Infiltrometer Code: 25-0660 Product Group: Double Ring Infiltrometer |
| --- | --- |

Standards

ASTM D3385

| Specification |
| --- |
| Rings | Aluminum; two included, 12 â i.d. x 20â h. (305 x 508 mm) and 24 â i.d. x 20â h. (610 x 508 mm). |
| Driving Cap | Aluminum; 1/2â (12 .7 mm) thick; with centering pins. |
| Splash Guards | Neoprene; two included; 6â (152 mm) square. |
| Mariotte Tubes | Graduated; two included; 3,000 ml and 10,000 ml capacities. |
| Weight | Net 70 lbs. (31 .7 kg); Shpg. 90 lbs. (40.8 kg). |