|  | Digital Length Comparator Code: 34-8507 Product Group: Length Comparator English or Metric units selectable. |
| --- | --- |

Standards

ASTM C151, ASTM C157, ASTM C227, ASTM C490, ASTM C531, AASHTO T107, AASHTO T160

| Specification |
| --- |
| Frame | Metal, double-post construction; rust resistant finish. |
| Anvils | One movable and one stationary; shaped to receive contact points in sample bars. |
| Indicator | Digital indicator with English or Metric units selectable. |
| Reference Bar | Invar metal. |
| Dimensions | 7-1/2" w. x 7-3/4" d. x 17-3/4" h. (190 x 197 x 451 mm) |
| Weight | 14.9 lbs. (6.8 kg) |