|  | Round Graduated Bottle Code: 42-3000A Product Group: Organic Impurities Test, Graduated Impurities Test Bottle |
| --- | --- |

Standards

ASTM C40, AASHTO T21

| Specification |
| --- |
| Construction | Glass; 16 oz. (473 ml) capacity; graduated. |
| Cap | Plastic; screw-on. |
| Weight | Net 4 oz. (113 g). |

| Spares/Consumables |
| --- |
|  | Sodium Hydroxide Solution Code: 42-3050 |