|  | 300mm Dia BS Sieve 90 Mic Stainless Steel Mesh. Fitted with Reinforcing Mesh. Code: 79-2090 Product Group: 300mm Diameter BS Sieves, 300mm Diameter BS Sieves, 300mm Diameter BS Sieves |
| --- | --- |

Standards

BS 410, ISO 3310

Further Information

**NOT AVAILABLE FOR SALE IN THE USA**