|  | Miniature Current Flow Meter Wading Set for Velocities 0.03 to 5 M/S. Code: 520-265 Product Group: Flow meters For velocities 0.04 to 5.0 metres/second. Consisting of current meter, revolution counter, wading rods, base and knob, 3 metres wading cable. |
| --- | --- |

Further Information

All packed into carrying case 850 x 180 x 220 mm.