|  | Water Bath - 18 litres Code: 82-8600/01 Product Group: Water Baths |
| --- | --- |

Further Information

**NOT AVAILABLE FOR SALE IN THE USA**

| Specification |
| --- |
| Capacity | 18 litres |
| Working area | 390 x 300 mm |
| Tray | Yes |
| Max Water Depth | 131 mm |
| Controller | Digital |
| Temperature range and stability ºC | 1 to 99.9 ± 0.1 |
| Electrical supply | 221 – 240 V AC, 50 - 60 Hz, 1 ph |
| Rated power kW | 1.6 |
| Weight | 9.2 kg |