|  | Standard Vacuum Pump Code: 88-3100/02 Product Group: Standard Vacuum Pump, Specific Gravity (Rice) Test with 6,000 gram Vacuum Pyknometer |
| --- | --- |

Further Information

115vAC, 60 Hz, 1ø.

| Specification |
| --- |
| Pump | Two series-connected eccentric pumps; base-mounted. |
| Delivery | 0.3 microns of Hg; ultimate pressure in leakproof system; 3 gal/min. (10 liter/min) free air displacement at 350 rpm. |
| Motor | 1/3 h.p.;V-belt drive; base-mounted. |
| Intake Port | 13 /32 â (10 mm) o.d.; takes 1/4â (6 mm) bore tubing. |
| Overall Dimensions | 18-1/2â w. x 10â d. x 10-3/4â h. (469 x 254 x 273 mm). |
| Weight | Net 46 lbs. (21 kg). |