|  | Set of 6 Grain Sieves. Code: 560-142 Product Group: Size grading • Laser cut for accuracy. • Non-magnetic stainless steel mesh. • Conform to BS6219 and ISO 5223. A set of 6, laser-cut stacking grain-sieves ensuring the utmost accuracy in grading. The set comprises four sieves with slots 20 mm long x 1.0; 2.0; 2.2; and 3.5 mm wide, made from hardwearing stainless steel plate to BS6219 and ISO 5223. Also included in the set are two stainless steel insect sieves 1.7 mm mesh and 710 um mesh, to aid the control of storage pests such as weevils and mites. A lid and receiver complete the set. Sieves conforming to other standards are available on request. |
| --- | --- |