|  | Concrete Micrometer Code: 34-5305 Product Group: Concrete Micrometer |
| --- | --- |

| Specification |
| --- |
| Spindles | Copolymer plastic |
| Thimble and Sleeve | Satin chrome finish with black markings |
| Readability | 0.001" |
| Range | 5-1/2" to 6-1/2", 6" position at sleeves center. |
| Weight | Net 2 lbs (0.9 kg) |