|  | Ball Seating Assembly 150mm Dia Platens. Code: 37-6133 Product Group: Flexural Testing for Beams Comprising a ball seating assembly with 150 mm diameter platen and a lower platen 150 mm diameter x 16 mm thick. Suitable for testing low-strength specimens. |
| --- | --- |

Further Information

**Not available for sale in the USA**