|  | 12in Dia ASTM Sieve 1.00mm Stainless Steel Mesh. Code: 79-5910 Product Group: U.S Standard Testing Sieves, 12" Diameter ASTM Sieves, 12" Diameter ASTM Sieves, 12" Diameter ASTM Sieves |
| --- | --- |

Standards

ASTM E11

| Specification |
| --- |
| Frames | Full height; 3-1/4â (82.5 mm) depth to mesh. |
| Construction | Polished and lacquered brass with S.S. mesh. |
| Nameplates | Show standard, alternate and Tyler Screen Scale equivalent designations. |
| Weights | Net 4 lbs. (1.8 kg). |
| Sieve Size or Number | No. 18 |
| Sieve Opening Standard | 1.00 mm |
| Sieve Opening Alternative (in.) | 0.0394 |