|  | Vibrating Table 50 Hz Code: 24-9112/01 Product Group: Vibrating Tables |
| --- | --- |

Standards

ASTM D4253, ASTM D4254

Further Information

220vAC, 50 Hz, 1ø.

| Specification |
| --- |
| Table | Steel construction; 30” x 30” (762 x 762 mm) cushioned steel deck. |
| Actuator | Electromagnetic vibrator; semi-noiseless; over 100 lb. (45 .3 kg) net wt. |
| Frequency | 3,600 vpm; variable amplitude separately controlled. |
| Table Capacity | 751 lbs. (34 0 kg). |
| Double Amplitude Range | 0.002” to 0.019” (0.05 to 0.48 mm). |
| Dimensions | 30” w. x 30” d. x 21 ” h. (762 x 762 x 533 mm). |
| Weight | Net 555 lbs. (252 kg); Shpg. 605 lbs. (274 kg). |