|  | Cement Cube Mould - ASTM Code: 39-0412 Product Group: Cement Cube Mould (ASTM) Three-gang mould, bronze. |
| --- | --- |

Standards

ASTM C87, ASTM C109, ASTM C141, ASTM C579, ASTM C593, AASHTO T106

| Specification |
| --- |
| Sample Size | Up to three 2â (50.8 mm) cubes. |
| Construction | Forged bronze; three-gang with wideflanged top and base; machined and ground finish. |
| Mold Closure | Mechanical; âTâ bolt screw clamps held in place by snap rings. |
| Base Plate | Machined forged bronze with knurled holddown screws. |
| Weight | Net 12 lbs. (5.4 kg). |