|  | Transducer Extension Cable 1.5 m Code: 27-1715 Product Group: Extension cables Wired with a 5-pin DIN plug at one end and 5-pin DIN type socket at the other, these extension cables are used to increase the length of any GDU/ECU transducer |
| --- | --- |