|  | Digital Colorimeter. Code: 525-242/01 Product Group: General laboratory instrumentation • 8 built-in filters. • Dual cuvette holder. • Large LCD display. This range of colorimeters features a number of advanced measurement functions and is designed for educational laboratory and industrial functions. The instruments are housed in rugged, chemically resistant, structual foam mouldings and have ergonomically-efficient, sloping front panels. Both models feature 8 built-in gelatin filters covering the visible spectrum fitted onto a switched wheel. The dual cuvette holder enables the sample and a reference to be processed. Measurements can be taken in % transmittance, absorbance or concentration. |
| --- | --- |

Further Information

A general purpose laboratory or portableunit which operates from mains supply or an external 12 V supply.It is supplied complete with 9 built-in filters, 100 displosable cuvettes, recorder output, mains lead and manual.