Humidity measurement

|  | Hygrometer / Thermometer 100mm Diameter Dial 10-100% Rh -25 to +45 Deg C. Code: 506-122 Attributes: Description = Hygrometer / Thermometer 100mm Standards: |
| --- | --- |

|  | Digital Electronic Temperature/Humidity Meter Code: 506-124 Attributes: Description = Digital Electronic Temperature/Humidity Meter Standards: |
| --- | --- |

|  | Kew Pattern Masons Hygrometer Supplied with Conversion Chart. Code: 506-104 Attributes: Description = Kew Pattern Masons Hygrometer Standards: |
| --- | --- |

|  | Threaded Muslins & Wicks. Code: 506-104/12 Attributes: Description = Threaded Muslins & Wicks Standards: |
| --- | --- |

|  | Wet & Dry Bulb Hygrometer Code: 506-106 Attributes: Description = Wet & Dry Bulb Hygrometer Standards: |
| --- | --- |

|  | Portable Temperature and Humidity Meter with Detachable Probe. Supplied in plastic box. Code: 506-150 Attributes: Description = Portable Temperature and Humidity Meter Standards: |
| --- | --- |

|  | Portable Humidity & Temperature Meter with Dewpoint & Wet Bulb Temp Measurement. Code: 506-160 Attributes: Description = Portable Humidity & Temperature Meter with Dewpoint & Wet Bulb Standards: |
| --- | --- |