Hydraulic Constant Pressure Systems

|  | Hand Operated Pressure System. Complete with Pressure Gauge and Flexible Hose. Code: 70-5000 Attributes: Description = Hand Operated Pressure System, Gauge MN/m² = 300 mm diameter scale marked 0-70 MN/m2 Standards: |
| --- | --- |