300mm Diameter BS Sieves

|  | 300mm Dia Lid. Code: 79-2010 Attributes: Sieve Type = Lid Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 300mm Dia Receiver. Code: 79-2020 Attributes: Sieve Type = Receiver Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 300mm Dia BS Sieve 63 Mic Stainless Steel Mesh. Fitted with Reinforcing Mesh. Code: 79-2070 Attributes: Aperture Size = 63 μm, Sieve Type = Mesh Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 300mm Dia BS Sieve 75 Mic Stainless Steel Mesh. Fitted with Reinforcing Mesh. Code: 79-2080 Attributes: Aperture Size = 75 μm, Sieve Type = Mesh Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 300mm Dia Iso:565 3310/1 Sieve 80 Mic Stainless Steel Mesh. Fitted with Reinforcing Mesh. Code: 79-2085 Attributes: Aperture Size = 80 μm, Sieve Type = Mesh Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 300mm Dia BS Sieve 90 Mic Stainless Steel Mesh. Fitted with Reinforcing Mesh. Code: 79-2090 Attributes: Aperture Size = 90 μm, Sieve Type = Mesh Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 300mm Dia Iso:565 3310/1 Sieve 100 Mic Stainless Steel Mesh. Fitted with Reinforcing Mesh. Code: 79-2095 Attributes: Aperture Size = 100 μm, Sieve Type = Mesh Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 300mm Dia BS Sieve 125Mic Stainless Steel Mesh. Fitted with Reinforcing Mesh. Code: 79-2110 Attributes: Aperture Size = 125 μm, Sieve Type = Mesh Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 300mm Dia BS Sieve 150Mic Stainless Steel Mesh. Fitted with Reinforcing Mesh. Code: 79-2120 Attributes: Aperture Size = 150 μm, Sieve Type = Mesh Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 300mm Dia Iso:565 3310/1 Sieve 200 Mic Stainless Steel Mesh. Fitted with Reinforcing Mesh. Code: 79-2135 Attributes: Aperture Size = 200 μm, Sieve Type = Mesh Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 300mm Dia BS Sieve 212Mic Stainless Steel Mesh. Fitted with Reinforcing Mesh. Code: 79-2140 Attributes: Aperture Size = 212 μm, Sieve Type = Mesh Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 300mm Dia BS Sieve 250Mic Stainless Steel Mesh. Fitted with Reinforcing Mesh. Code: 79-2150 Attributes: Aperture Size = 250 μm, Sieve Type = Mesh Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 300mm Dia BS Sieve 300Mic Stainless Steel Mesh. Fitted with Reinforcing Mesh. Code: 79-2160 Attributes: Aperture Size = 300 μm, Sieve Type = Mesh Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 300mm Dia Iso:565 3310/1 Sieve 315 Mic Stainless Steel Mesh. Code: 79-2165 Attributes: Aperture Size = 315 μm, Sieve Type = Mesh Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 300mm Dia BS Sieve 425Mic Stainless Steel Mesh. Code: 79-2180 Attributes: Aperture Size = 425 μm, Sieve Type = Mesh Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 300mm Dia BS Sieve 500Mic Stainless Steel Mesh. Code: 79-2190 Attributes: Aperture Size = 500 μm, Sieve Type = Mesh Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 300mm Dia BS Sieve 600Mic Stainless Steel Mesh. Code: 79-2200 Attributes: Aperture Size = 600 μm, Sieve Type = Mesh Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 300mm Dia Iso:565 3310/1 Sieve 630 Mic Stainless Steel Mesh. Code: 79-2205 Attributes: Aperture Size = 630 μm, Sieve Type = Mesh Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 300mm Dia BS Sieve 850Mic Stainless Steel Mesh. Code: 79-2220 Attributes: Aperture Size = 850 μm, Sieve Type = Mesh Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 300mm Dia BS Sieve 1.00mm Stainless Steel Mesh. Code: 79-2230 Attributes: Aperture Size = 1 mm, Sieve Type = Mesh Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 300mm Dia BS Sieve 1.18mm Stainless Steel Mesh. Code: 79-2240 Attributes: Aperture Size = 1.18 mm, Sieve Type = Mesh Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 300mm Dia Iso:565 3310/1 Sieve 1.25mm Stainless Steel Mesh. Code: 79-2245 Attributes: Aperture Size = 1.25 mm, Sieve Type = Mesh Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 300mm Dia Iso:565 3310/1 Sieve 1.60mm Stainless Steel Mesh. Code: 79-2255 Attributes: Aperture Size = 1.60 mm, Sieve Type = Mesh Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 300mm Dia BS Sieve 1.70mm Stainless Steel Mesh. Code: 79-2260 Attributes: Aperture Size = 1.70 mm, Sieve Type = Mesh Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 300mm Dia BS Sieve 2.00mm Stainless Steel Mesh. Code: 79-2270 Attributes: Aperture Size = 2 mm, Sieve Type = Mesh Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 300mm Dia BS Sieve 2.36mm Stainless Steel Mesh. Code: 79-2280 Attributes: Aperture Size = 2.36 mm, Sieve Type = Mesh Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 300mm Dia Iso:565 3310/1 Sieve 2.50mm Stainless Steel Mesh. Code: 79-2285 Attributes: Aperture Size = 2.50 mm, Sieve Type = Mesh Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 300mm Dia BS Sieve 3.35mm Stainless Steel Mesh. Code: 79-2300 Attributes: Aperture Size = 3.35 mm, Sieve Type = Mesh Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 300mm Dia BS Sieve 4.75mm Stainless Steel Mesh. Code: 79-2320 Attributes: Aperture Size = 4.75 mm, Sieve Type = Mesh Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 300mm Dia BS Sieve 4.00mm Perforated Plate. Code: 79-2500 Attributes: Aperture Size = 4 mm, Sieve Type = Perforated Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 300mm Dia BS Sieve 4.75mm Perforated Plate. Code: 79-2510 Attributes: Aperture Size = 4.75 mm, Sieve Type = Perforated Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 300mm Dia BS Sieve 5.00mm Perforated Plate. Code: 79-2515 Attributes: Aperture Size = 5 mm, Sieve Type = Perforated Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 300mm Dia BS Sieve 6.30mm Perforated Plate. Code: 79-2525 Attributes: Aperture Size = 6.30 mm, Sieve Type = Perforated Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 300mm Dia BS Sieve 6.70mm Perforated Plate. Code: 79-2530 Attributes: Aperture Size = 6.70 mm, Sieve Type = Perforated Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 300mm Dia BS Sieve 8.00mm Perforated Plate. Code: 79-2540 Attributes: Aperture Size = 8 mm, Sieve Type = Perforated Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 300mm Dia BS Sieve 9.50mm Perforated Plate. Code: 79-2550 Attributes: Aperture Size = 9.50 mm, Sieve Type = Perforated Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 300mm Dia BS Sieve 10.0mm Perforated Plate. Code: 79-2555 Attributes: Aperture Size = 10 mm, Sieve Type = Perforated Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 300mm Dia BS Sieve 12.5mm Perforated Plate Code: 79-2565 Attributes: Aperture Size = 12.50 mm, Sieve Type = Perforated Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 300mm Dia BS Sieve 13.2mm Perforated Plate. Code: 79-2570 Attributes: Aperture Size = 13.20 mm, Sieve Type = Perforated Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 300mm Dia BS Sieve 14.0mm Perforated Plate. Code: 79-2575 Attributes: Aperture Size = 14 mm, Sieve Type = Perforated Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 300mm Dia BS Sieve 16.0mm Perforated Plate. Code: 79-2580 Attributes: Aperture Size = 16 mm, Sieve Type = Perforated Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 300mm Dia BS Sieve 19.0mm Perforated Plate. Code: 79-2590 Attributes: Aperture Size = 19 mm, Sieve Type = Perforated Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 300mm Dia BS Sieve 20.0mm Perforated Plate. Code: 79-2595 Attributes: Aperture Size = 20 mm, Sieve Type = Perforated Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 300mm Dia BS Sieve 22.4mm Perforated Plate. Code: 79-2600 Attributes: Aperture Size = 22.40 mm, Sieve Type = Perforated Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 300mm Dia BS Sieve 25.0mm Perforated Plate. Code: 79-2605 Attributes: Aperture Size = 25 mm, Sieve Type = Perforated Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 300mm Dia Sieve 26.5mm Perforated Plate. Code: 79-2610 Attributes: Aperture Size = 26.50 mm, Sieve Type = Perforated Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 300mm Dia BS Sieve 28.0mm Perforated Plate. Code: 79-2615 Attributes: Aperture Size = 28 mm, Sieve Type = Perforated Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 300mm Dia BS Sieve 31.5mm Perforated Plate. Code: 79-2630 Attributes: Aperture Size = 31.50 mm, Sieve Type = Perforated Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 300mm Dia BS Sieve 37.5mm Perforated Plate. Code: 79-2640 Attributes: Aperture Size = 37.50 mm, Sieve Type = Perforated Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 300mm Dia BS Sieve 40.0mm Perforated Plate Code: 79-2645 Attributes: Aperture Size = 40 mm, Sieve Type = Perforated Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 300mm Dia BS Sieve 50.0mm Perforated Plate. Code: 79-2655 Attributes: Aperture Size = 50 mm, Sieve Type = Perforated Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 300mm Dia BS Sieve 53.0mm Perforated Plate. Code: 79-2660 Attributes: Aperture Size = 53 mm, Sieve Type = Perforated Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 300mm Dia BS Sieve 63.0mm Perforated Plate. Code: 79-2670 Attributes: Aperture Size = 63 mm, Sieve Type = Perforated Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 300mm Dia BS Sieve 75.0mm Perforated Plate. Code: 79-2680 Attributes: Aperture Size = 75 mm, Sieve Type = Perforated Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 300mm Dia BS Sieve 80mm Perforated Plate Code: 79-2684 Attributes: Aperture Size = 80 mm, Sieve Type = Perforated Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 300mm Dia BS Sieve 125mm Perforated Plate. Code: 79-2710 Attributes: Aperture Size = 125 mm, Sieve Type = Perforated Standards: BS 410, ISO 3310 |
| --- | --- |