Load Measurement

|  | 50kN Load Measuring Ring Code: 78-0860 Attributes: Description = Load ring - 50 kN, Value of CBR % = Above 40%, Overall Height, mm = 248, Force Capacity, kN = 50, Load device type = Load ring Standards: EN 12697-34 |
| --- | --- |

|  | Clamped Boss Load Ring - 28.0 kN Code: 78-0760 Attributes: Description = Load ring - 28 kN, Load device type = Load ring, Force Capacity, kN = 28, Value of CBR % = Average range of CBR, Overall Height, mm = 248 Standards: |
| --- | --- |

|  | Clamped Boss Load Ring - 4.5 kN Code: 78-0260 Attributes: Description = Load ring - 4.5 kN, Load device type = Load ring, Force Capacity, kN = 4.5, Weight, lbs = 9.25 Standards: |
| --- | --- |

|  | Distance Piece Stainless Steel for Use with Submerisble Load Cells and Axial Strain Transducers. Code: 27-1293 Attributes: Description = Distance piece stainless steel for use with submersible load cells, Load device type = Stainless Steel distance piece for use with submersible loads cells, Weight, lbs = 1 Standards: |
| --- | --- |

|  | S-Type Load Cell 5 kN.for Triaxial Tests. Fitted with 5 Pin Din Plug. Code: 27-1551 Attributes: Load device type = S-Type, Force Capacity, kN = 5, Description = S-Type load cell, Environmental Protection = IP65 Standards: |
| --- | --- |

|  | S-Type Load Cell 10 kN.for Triaxial Tests. Fitted with 5 Pin Din Plug. Code: 27-1553 Attributes: Load device type = S-Type, Force Capacity, kN = 10, Description = S-Type load cell, Environmental Protection = IP65 Standards: |
| --- | --- |

|  | S-Type Load Cell 25 kN.for Triaxial Tests. 27-1293 required separately. Code: 27-1555 Attributes: Load device type = S-Type, Force Capacity, kN = 25, Description = S-Type load cell, Environmental Protection = IP65 Standards: |
| --- | --- |

|  | Submersible Load Transducer Assembly 5kN Capacity In Compression. Code: 27-1573 Attributes: Load device type = Submersible, Force Capacity, kN = 5, Description = Submersible load transducer, Weight, lbs = 2.25 Standards: |
| --- | --- |

|  | Submersible Load Transducer Assembly 10kN Capacity In Compression. Code: 27-1575 Attributes: Load device type = Submersible, Force Capacity, kN = 10, Description = Submersible load transducer, Compensated Temperature Range = 0 - 50 Standards: |
| --- | --- |