Rapid method by Speedy Moisture Tester

|  | Speedy Moisture Tester D2 Large 0-20% Moisture Range. Supplied Less Calcium Carbide Code: 23-7452 Attributes: Model/type = D2 Large, Moisture range % = 0 to 20, Gauge divisions % = 0.2, Sample weight g = 20, Dimensions w x d x h, ” = 518x382x212 mm, Description = Speedy Moisture Tester Standards: BS 812, ASTM D4944, AASHTO T217 |
| --- | --- |

|  | Speedy Moisture Tester G2 Large 0-50% Moisture Range. Supplied Less Calcium Carbide Code: 23-7462 Attributes: Model/type = G2 Large, Moisture range % = 0 to 50, Gauge divisions % = 0.5, Sample weight g = 8 Standards: ASTM D4944, AASHTO T217 |
| --- | --- |

|  | Speedy Moisture Tester D2 Small 0-20% Moisture Range. Supplied Less Calcium Carbide Code: 23-7502 Attributes: Model/type = D2 Small, Moisture range % = 0 to 20, Gauge divisions % = 0.2, Sample weight g = 6 Standards: ASTM D4944, AASHTO T217 |
| --- | --- |