Non Hazardous Glass Thermometers

|  | Non Hazardous Glass Thermometers -10 - +260°C Code: 82-5005 Attributes: Temperature Range °C = -10 to +260, Description = Non Hazardous Glass Thermometer Standards: |
| --- | --- |

|  | Non Hazardous Glass Thermometers -1 - +51°C Code: 82-5270 Attributes: Temperature Range °C = -1 to +51, Description = Non Hazardous Glass Thermometer Standards: |
| --- | --- |

|  | Thermometer Code: 82-5272 Attributes: Description = Thermometer - 76 mm immersion, Temperature Range °C = -10 to +210 Standards: EN 1427, BS 2000-58 |
| --- | --- |

|  | Thermometer Code: 82-5274 Attributes: Temperature Range °C = -10 to +210, Description = Thermometer - Total Immersion Standards: EN 1427, BS 2000-58 |
| --- | --- |