Lottman Breaking Head

|  | 4" Lottman Breaking Head Code: 45-6860 Attributes: Strips = 3" l. x 1/2" w. x 3/4" h. (76.2 x 12.7 x 19 mm) with 2" (50.8 mm) radius on contact end., Description = 4″ Lottman Breaking Head Standards: ASTM D6931, AASHTO T283 |
| --- | --- |