Vibrating Tables

|  | Vibrating Table 60 Hz Code: 24-9112/06 Attributes: Double Amplitude Range,” = 0.002 to 0.015, Description = Vibrating Table 60 Hz Standards: ASTM D4253, ASTM D4254 |
| --- | --- |

|  | Density Set 50 Hz Code: 2500/01 Attributes: Rated Power = 220vAC, 50Hz, 1ø, Description = Density Set 50 Hz Standards: ASTM D4253, ASTM D4254 |
| --- | --- |

|  | Density Set 60 Hz Code: 2500/06 Attributes: Rated Power = 220vAC, 60Hz, 1ø., Description = Density Set 60 Hz Standards: ASTM D4253, ASTM D4254 |
| --- | --- |

|  | Vibrating Table 50 Hz Code: 24-9112/01 Attributes: Double Amplitude Range,” = 0.002 to 0.019, Description = Vibrating Table 50 Hz Standards: ASTM D4253, ASTM D4254 |
| --- | --- |