200mm Diameter BS Sieves

|  | 200 mm Diameter Lid Code: 79-0010 Attributes: Sieve Type = Lid Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 200 mm Diameter Receiver Code: 79-0020 Attributes: Sieve Type = Receiver Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 200mm Dia BS Sieve 45 Mic Stainless Steel Mesh. Code: 79-0050 Attributes: Aperture Size = 45 μm, Sieve Type = Mesh Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 200mm Dia BS Sieve 53 Mic Stainless Steel Mesh. Code: 79-0060 Attributes: Aperture Size = 53 μm, Sieve Type = Mesh Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 200mm Dia BS Sieve 63 Mic Stainless Steel Mesh. Code: 79-0070 Attributes: Aperture Size = 63 μm, Sieve Type = Mesh Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 200mm Dia BS Sieve 75 Mic Stainless Steel Mesh. Code: 79-0080 Attributes: Aperture Size = 75 μm, Sieve Type = Mesh Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 200mm Dia Iso:565 3310/1 Sieve 80 Mic Stainless Steel Mesh. Code: 79-0085 Attributes: Aperture Size = 80 μm, Sieve Type = Mesh Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 200mm Dia BS Sieve 90 Mic Stainless Steel Mesh. Code: 79-0090 Attributes: Aperture Size = 90 μm, Sieve Type = Mesh Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 200mm Dia Iso:565 3310/1 Sieve 100 Mic Stainless Steel Mesh. Code: 79-0095 Attributes: Aperture Size = 100 μm, Sieve Type = Mesh Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 200mm Dia BS Sieve 106Mic Stainless Steel Mesh. Code: 79-0100 Attributes: Aperture Size = 106 μm, Sieve Type = Mesh Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 200mm Dia BS Sieve 125Mic Stainless Steel Mesh. Code: 79-0110 Attributes: Aperture Size = 125 μm, Sieve Type = Mesh Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 200mm Dia BS Sieve 150 Mic Stainless Steel Mesh. Code: 79-0120 Attributes: Aperture Size = 150 μm, Sieve Type = Mesh Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 200mm Dia Iso:565 3310/1 Sieve 160 Mic Stainless Steel Mesh. Code: 79-0125 Attributes: Aperture Size = 160 μm, Sieve Type = Mesh Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 200mm Dia BS Sieve 212Mic Stainless Steel Mesh. Code: 79-0140 Attributes: Aperture Size = 212 μm, Sieve Type = Mesh Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 200mm Dia BS Sieve 250Mic Stainless Steel Mesh. Code: 79-0150 Attributes: Aperture Size = 250 μm, Sieve Type = Mesh Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 200mm Dia BS Sieve 300Mic Stainless Steel Mesh. Code: 79-0160 Attributes: Aperture Size = 300 μm, Sieve Type = Mesh Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 200mm Dia Iso:565 3310/1 Sieve 400 Mic Stainless Steel Mesh. Code: 79-0175 Attributes: Aperture Size = 400 μm, Sieve Type = Mesh Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 200mm Dia BS Sieve 425Mic Stainless Steel Mesh. Code: 79-0180 Attributes: Aperture Size = 425 μm, Sieve Type = Mesh Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 200mm Dia BS Sieve 500Mic Stainless Steel Mesh. Code: 79-0190 Attributes: Aperture Size = 500 μm, Sieve Type = Mesh Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 200mm Dia BS Sieve 600Mic Stainless Steel Mesh. Code: 79-0200 Attributes: Aperture Size = 600 μm, Sieve Type = Mesh Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 200mm Dia BS Sieve 710Mic Stainless Steel Mesh. Code: 79-0210 Attributes: Aperture Size = 710 μm, Sieve Type = Mesh Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 200mm Dia BS Sieve 850Mic Stainless Steel Mesh. Code: 79-0220 Attributes: Aperture Size = 850 μm, Sieve Type = Mesh Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 200mm Dia BS Sieve 1.00mm Stainless Steel Mesh. Code: 79-0230 Attributes: Aperture Size = 1 mm, Sieve Type = Mesh Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 200mm Dia BS Sieve 1.18mm Stainless Steel Mesh. Code: 79-0240 Attributes: Aperture Size = 1.18 mm, Sieve Type = Mesh Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 200mm Dia Iso:565 3310/1 Sieve 1.25mm Stainless Steel Mesh. Code: 79-0245 Attributes: Aperture Size = 1.25 mm, Sieve Type = Mesh Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 200mm Dia BS Sieve 1.40mm Stainless Steel Mesh. Code: 79-0250 Attributes: Aperture Size = 1.40 mm, Sieve Type = Mesh Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 200mm Dia Iso:565 3310/1 Sieve 1.60mm Stainless Steel Mesh. Code: 79-0255 Attributes: Aperture Size = 1.60 mm, Sieve Type = Mesh Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 200mm Dia BS Sieve 1.70mm Stainless Steel Mesh. Code: 79-0260 Attributes: Aperture Size = 1.70 mm, Sieve Type = Mesh Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 200mm Dia BS Sieve 2.00mm Stainless Steel Mesh. Code: 79-0270 Attributes: Aperture Size = 2 mm, Sieve Type = Mesh Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 200mm Dia BS Sieve 2.36mm Stainless Steel Mesh. Code: 79-0280 Attributes: Aperture Size = 2.36 mm, Sieve Type = Mesh Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 200mm Dia Iso:565 3310/1 Sieve 2.50mm Stainless Steel Mesh. Code: 79-0285 Attributes: Aperture Size = 2.50 mm, Sieve Type = Mesh Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 200mm Dia BS Sieve 2.80mm Stainless Steel Mesh. Code: 79-0290 Attributes: Aperture Size = 2.80 mm, Sieve Type = Mesh Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 200mm Dia BS Sieve 3.35mm Stainless Steel Mesh. Code: 79-0300 Attributes: Aperture Size = 3.35 mm, Sieve Type = Mesh Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 200mm Dia BS Sieve 4.00mm Stainless Steel Mesh. Code: 79-0310 Attributes: Aperture Size = 4 mm, Sieve Type = Mesh Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 200mm Dia BS Sieve 4.75mm Stainless Steel Mesh. Code: 79-0320 Attributes: Aperture Size = 4.75 mm, Sieve Type = Mesh Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 200mm Dia BS Sieve 4.00mm Perforated Plate. Code: 79-1500 Attributes: Aperture Size = 4 mm, Sieve Type = Perforated Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 200mm Dia BS Sieve 4.75mm Perforated Plate. Code: 79-1510 Attributes: Aperture Size = 4.75 mm, Sieve Type = Perforated Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 200mm Dia BS Sieve 5.00mm Perforated Plate. Code: 79-1515 Attributes: Aperture Size = 5 mm, Sieve Type = Perforated Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 200mm Dia BS Sieve 5.60mm Perforated Plate. Code: 79-1520 Attributes: Aperture Size = 5.60 mm, Sieve Type = Perforated Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 200mm Dia BS Sieve 6.30mm Perforated Plate. Code: 79-1525 Attributes: Aperture Size = 6.30 mm, Sieve Type = Perforated Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 200mm Dia BS Sieve 6.70mm Perforated Plate. Code: 79-1530 Attributes: Aperture Size = 6.70 mm, Sieve Type = Perforated Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 200mm Dia BS Sieve 8.00mm Perforated Plate. Code: 79-1540 Attributes: Aperture Size = 8 mm, Sieve Type = Perforated Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 200mm Dia BS Sieve 9.50mm Perforated Plate. Code: 79-1550 Attributes: Aperture Size = 9.50 mm, Sieve Type = Perforated Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 200mm Dia BS Sieve 10.0mm Perforated Plate. Code: 79-1555 Attributes: Aperture Size = 10 mm, Sieve Type = Perforated Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 200mm Dia BS Sieve 11.20mm Perforated Plate. Code: 79-1560 Attributes: Aperture Size = 11.20 mm, Sieve Type = Perforated Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 200mm Dia BS Sieve 12.5mm Perforated Plate. Code: 79-1565 Attributes: Aperture Size = 12.50 mm, Sieve Type = Perforated Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 200mm Dia BS Sieve 13.2mm Perforated Plate. Code: 79-1570 Attributes: Aperture Size = 13.20 mm, Sieve Type = Perforated Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 200mm Dia BS Sieve 14.0mm Perforated Plate. Code: 79-1575 Attributes: Aperture Size = 14 mm, Sieve Type = Perforated Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 200mm Dia BS Sieve 16.0mm Perforated Plate. Code: 79-1580 Attributes: Aperture Size = 16 mm, Sieve Type = Perforated Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 200mm Dia BS Sieve 19.0mm Perforated Plate. Code: 79-1590 Attributes: Aperture Size = 19 mm, Sieve Type = Perforated Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 200mm Dia BS Sieve 20.0mm Perforated Plate. Code: 79-1595 Attributes: Aperture Size = 20 mm, Sieve Type = Perforated Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 200mm Dia BS Sieve 22.40mm Perforated Plate. Code: 79-1600 Attributes: Aperture Size = 22.40 mm, Sieve Type = Perforated Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 200mm Dia BS Sieve 25.0mm Perforated Plate. Code: 79-1605 Attributes: Aperture Size = 25 mm, Sieve Type = Perforated Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 200mm Dia BS Sieve 26.5mm Perforated Plate. Code: 79-1610 Attributes: Aperture Size = 26.50 mm, Sieve Type = Perforated Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 200mm Dia BS Sieve 28.0mm Perforated Plate. Code: 79-1615 Attributes: Aperture Size = 28 mm, Sieve Type = Perforated Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 200mm Dia BS Sieve 31.5mm Perforated Plate. Code: 79-1630 Attributes: Aperture Size = 31.50 mm, Sieve Type = Perforated Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 200mm Dia BS Sieve 37.5mm Perforated Plate. Code: 79-1640 Attributes: Aperture Size = 37.50 mm, Sieve Type = Perforated Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 200mm Dia BS Sieve 50.0mm Perforated Plate. Code: 79-1655 Attributes: Aperture Size = 50 mm, Sieve Type = Perforated Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 200mm Dia BS Sieve 53.0mm Perforated Plate. Code: 79-1660 Attributes: Aperture Size = 53 mm, Sieve Type = Perforated Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 200mm Dia BS Sieve 63.0mm Perforated Plate. Code: 79-1670 Attributes: Aperture Size = 63 mm, Sieve Type = Perforated Standards: BS 410, ISO 3310 |
| --- | --- |

|  | 200mm Dia BS Sieve 75.0mm Perforated Plate. Code: 79-1680 Attributes: Aperture Size = 75 mm, Sieve Type = Perforated Standards: BS 410, ISO 3310 |
| --- | --- |