Water Baths

|  | Water Bath - 12 litres Code: 82-8500/01 Attributes: Description = Water Bath, Capacity, litres = 12, Voltage Supply = 220 - 240 V AC, 50/60 Hz, 1 ph Standards: |
| --- | --- |

|  | Water Bath - 18 litres Code: 82-8600/01 Attributes: Description = Water Bath, Capacity, litres = 18, Voltage Supply = 220 - 240 V AC, 50/60 Hz, 1 ph Standards: |
| --- | --- |