General Purpose Compression Machines

|  | ADR-Auto V2.0 2000 Standard Compression Machine Code: 36-4125/01 Attributes: Voltage Supply = 220-240 V 50 Hz, Force Capacity, kN = 2000, Maximum Ram Travel mm = 50 Standards: |
| --- | --- |

|  | ADR-Auto V2.0 2000 Standard Compression Machine Code: 36-4125/02 Attributes: Voltage Supply = 100-120 V 60 Hz, Force Capacity, kN = 2000, Maximum Ram Travel mm = 50 Standards: |
| --- | --- |

|  | ADR-Auto V2.0 2000 Standard Compression Machine Code: 36-4125/06 Attributes: Voltage Supply = 220-240 V 60 Hz, Force Capacity, kN = 2000, Maximum Ram Travel mm = 50 Standards: |
| --- | --- |