Surface Hardness

|  | Standard Concrete Test Hammer Code: 35-1480 Attributes: Description = Standard Concrete Test Hammer, Accuracy, % = 15 Standards: ASTM C805 |
| --- | --- |

|  | Testing Anvil Code: 35-1530 Attributes: Description = Testing Anvil, Weight, lbs = 37.06 Standards: ASTM C805 |
| --- | --- |