Triaxial Cell

|  | 50mm Triaxial Cell 1700Kpa with 5 Pressure/ Drainage Ports. Supplied with Two Valves. Code: 25-4047 Attributes: 38 mm Sample = Yes, 50 mm Sample = Yes, 70 mm Sample = -, 100 mm Sample = -, Horizontal Clearance Required = 155, Description = Triaxial Cell - 50 mm Standards: BS 1377, ASTM D2850, ASTM D4767, AASHTO T296, AASHTO T297 |
| --- | --- |

|  | 70mm Triaxial Cell 1700Kpa with 5 Pressure/ Drainage Ports. Supplied with Two Valves. Code: 25-4117 Attributes: Description = Triaxial Cell - 70 mm, 100 mm Sample = -, 38 mm Sample = -, 50 mm Sample = Yes, 70 mm Sample = Yes, Horizontal Clearance Required = 180, Maximum Pressure, psi = 250 Standards: BS 1377, ASTM D2850, ASTM D4767, ASTM D7181, AASHTO T296, AASHTO T297 |
| --- | --- |

|  | 100mm Triaxial Cell 1700Kpa with 5 Pressure/ Drainage Ports. Supplied with Two Valves. Code: 25-4157 Attributes: 38 mm Sample = -, 50 mm Sample = -, 70 mm Sample = -, 100 mm Sample = Yes, Horizontal Clearance Required = 255, Description = Triaxial Cell - 100 mm Standards: BS 1377, ASTM D2850, ASTM D4767, AASHTO T296, AASHTO T297 |
| --- | --- |