Corrosion Mapping System

|  | Corrosion Mapping System Code: 35-2165 Attributes: Memory Capacity = 15 ,866 half-cell readings; 12 8 max.<br>scans., Description = Corrosion Mapping System Standards: ASTM C876 |
| --- | --- |