U.S Standard Testing Sieves

|  | 8inDia ASTM Sieve 6.30mm Stainless Steel Mesh. Code: 79-5000 Attributes: Aperture Size = 6.30 mm, Sieve Type = Mesh, Sieve Opening, ” = 0.25 Standards: ASTM E11 |
| --- | --- |

|  | 8in Dia ASTM Sieve 5.60mm Stainless Steel Mesh. Code: 79-5010 Attributes: Aperture Size = 5.60 mm, Sieve Type = Mesh, Sieve Opening, ” = 0.223 Standards: ASTM E11 |
| --- | --- |

|  | 8in Dia ASTM Sieve 4.75mm Stainless Steel Mesh. Code: 79-5020 Attributes: Aperture Size = 4.75 mm, Sieve Type = Mesh, Sieve Opening, ” = 0.187 Standards: ASTM E11 |
| --- | --- |

|  | 8in Dia ASTM Sieve 4.00mm Stainless Steel Mesh. Code: 79-5030 Attributes: Aperture Size = 4 mm, Sieve Type = Mesh, Sieve Opening, ” = 0.157 Standards: ASTM E11 |
| --- | --- |

|  | 8in Dia ASTM Sieve 3.35mm Stainless Steel Mesh. Code: 79-5040 Attributes: Aperture Size = 3.35 mm, Sieve Type = Mesh, Sieve Opening, ” = 0.132 Standards: ASTM E11 |
| --- | --- |

|  | 8in Dia ASTM Sieve 2.36mm Stainless Steel Mesh. Code: 79-5060 Attributes: Aperture Size = 2.36 mm, Sieve Type = Mesh, Sieve Opening, ” = 0.0937 Standards: ASTM E11 |
| --- | --- |

|  | 8in Dia ASTM Sieve 2.0mm Stainless Steel Mesh. Code: 79-5070 Attributes: Aperture Size = 2 mm, Sieve Type = Mesh, Sieve Opening, ” = 0.0787 Standards: ASTM E11 |
| --- | --- |

|  | 8in Dia ASTM Sieve 1.70mm Stainless Steel Mesh. Code: 79-5080 Attributes: Aperture Size = 1.70 mm, Sieve Type = Mesh, Sieve Opening, ” = 0.0661 Standards: ASTM E11 |
| --- | --- |

|  | 8in Dia ASTM Sieve 1.40mm Stainless Steel Mesh. Code: 79-5090 Attributes: Aperture Size = 1.40 mm, Sieve Type = Mesh, Sieve Opening, ” = 0.0555 Standards: ASTM E11 |
| --- | --- |

|  | 8in Dia ASTM Sieve 1.18mm Stainless Steel Mesh. Code: 79-5100 Attributes: Aperture Size = 1.18 mm, Sieve Type = Mesh, Sieve Opening, ” = 0.0469 Standards: ASTM E11 |
| --- | --- |

|  | 8in Dia ASTM Sieve 1.00mm Stainless Steel Mesh. Code: 79-5110 Attributes: Aperture Size = 1 mm, Sieve Type = Mesh, Sieve Opening, ” = 0.0394 Standards: ASTM E11 |
| --- | --- |

|  | 8in Dia ASTM Sieve 850 Mic Stainless Steel Mesh. Code: 79-5120 Attributes: Aperture Size = 850 µm, Sieve Type = Mesh, Sieve Opening, ” = 0.331 Standards: ASTM E11 |
| --- | --- |

|  | Fine Sieve - 8" Dia. Standard Opening 710 μm Code: 79-5130 Attributes: Sieve Opening, ” = 0.0278, Description = Fine Sieve - 8″ Dia. Standard Opening 710 μm Standards: ASTM E11 |
| --- | --- |

|  | 8in Dia ASTM Sieve 600 Mic Stainless Steel Mesh. Code: 79-5140 Attributes: Aperture Size = 600 µm, Sieve Type = Mesh, Sieve Opening, ” = 0.0234 Standards: ASTM E11 |
| --- | --- |

|  | 8in Dia ASTM Sieve 500 Mic Stainless Steel Mesh. Code: 79-5150 Attributes: Aperture Size = 500 µm, Sieve Type = Mesh, Sieve Opening, ” = 0.0197 Standards: ASTM E11 |
| --- | --- |

|  | 8in Dia ASTM Sieve 425 Mic Stainless Steel Mesh. Code: 79-5160 Attributes: Aperture Size = 425 µm, Sieve Type = Mesh, Sieve Opening, ” = 0.0165 Standards: ASTM E11 |
| --- | --- |

|  | Fine Sieve - 8" Dia. Standard Opening 355 μm Code: 79-5170 Attributes: Sieve Opening, ” = 0.0139, Description = Fine Sieve - 8″ Dia. Standard Opening 355 μm Standards: ASTM E11 |
| --- | --- |

|  | 8in Dia ASTM Sieve 300 Mic Stainless Steel Mesh. Code: 79-5180 Attributes: Aperture Size = 300 µm, Sieve Type = Mesh, Sieve Opening, ” = 0.0117 Standards: ASTM E11 |
| --- | --- |

|  | 8in Dia ASTM Sieve 250 Mic Stainless Steel Mesh. Code: 79-5190 Attributes: Aperture Size = 250 µm, Sieve Type = Mesh, Sieve Opening, ” = 0.0098 Standards: ASTM E11 |
| --- | --- |

|  | 8in Dia ASTM Sieve 212 Mic Stainless Steel Mesh. Code: 79-5200 Attributes: Aperture Size = 121 µm, Sieve Type = Mesh, Sieve Opening, ” = 0.0083 Standards: ASTM E11 |
| --- | --- |

|  | 8in Dia ASTM Sieve 180 Mic Stainless Steel Mesh. Code: 79-5210 Attributes: Aperture Size = 180 µm, Sieve Type = Mesh, Sieve Opening, ” = 0.007 Standards: ASTM E11 |
| --- | --- |

|  | 8in Dia ASTM Sieve 150 Mic Stainless Steel Mesh. Code: 79-5220 Attributes: Aperture Size = 150 µm, Sieve Type = Mesh, Sieve Opening, ” = 0.0059 Standards: ASTM E11 |
| --- | --- |

|  | 8in Dia ASTM Sieve 125 Mic Stainless Steel Mesh. Code: 79-5230 Attributes: Aperture Size = 125 µm, Sieve Type = Mesh, Sieve Opening, ” = 0.0049 Standards: ASTM E11 |
| --- | --- |

|  | 8in Dia ASTM Sieve 106 Mic Stainless Steel Mesh. Code: 79-5240 Attributes: Aperture Size = 106 µm, Sieve Type = Mesh, Sieve Opening, ” = 0.0041 Standards: ASTM E11 |
| --- | --- |

|  | 8in Dia ASTM Sieve 90 Mic Stainless Steel Mesh. Code: 79-5250 Attributes: Aperture Size = 90 µm, Sieve Type = Mesh, Sieve Opening, ” = 0.0035 Standards: ASTM E11 |
| --- | --- |

|  | 8in Dia ASTM Sieve 75 Mic Stainless Steel Mesh. Code: 79-5260 Attributes: Aperture Size = 75 µm, Sieve Type = Mesh, Sieve Opening, ” = 0.0029 Standards: ASTM E11 |
| --- | --- |

|  | 8in Dia ASTM Sieve 63 Mic Stainless Steel Mesh. Code: 79-5270 Attributes: Aperture Size = 63 µm, Sieve Type = Mesh, Sieve Opening, ” = 0.0025 Standards: ASTM E11 |
| --- | --- |

|  | Fine Sieve - 8" Dia. Standard Opening 53 μm Code: 79-5280 Attributes: Sieve Opening, ” = 0.0021, Description = Fine Sieve - 8″ Dia. Standard Opening 53 μm Standards: ASTM E11 |
| --- | --- |

|  | 8in Dia ASTM Sieve 45 Mic Stainless Steel Mesh. Code: 79-5290 Attributes: Aperture Size = 45 µm, Sieve Type = Mesh, Sieve Opening, ” = 0.0017 Standards: ASTM E11 |
| --- | --- |

|  | Fine Sieve - 8" Dia. Standard Opening 38 μm Code: 79-5300 Attributes: Sieve Opening, ” = 0.0015, Description = Fine Sieve - 8″ Dia. Standard Opening 38 μm Standards: ASTM E11 |
| --- | --- |

|  | 8 Inch Dia Lid. Code: 79-5400 Attributes: Sieve Type = Lid Standards: ASTM E11 |
| --- | --- |

|  | Sieve Cover w/recessed center ring 8" Dia. Code: 79-5405 Attributes: Description = Sieve Cover w/recessed center ring 8″ Dia. Standards: |
| --- | --- |

|  | 8in Dia Receiver. Code: 79-5410 Attributes: Sieve Type = Receiver Standards: ASTM E11 |
| --- | --- |

|  | Sieve Pan with extended rim 8" Dia. Code: 79-5415 Attributes: Description = Sieve Pan with extended rim 8″ Dia. Standards: |
| --- | --- |

|  | 8in Dia ASTM Sieve 8.00mm Stainless Steel Mesh. Code: 79-5500 Attributes: Aperture Size = 8 mm, Sieve Type = Mesh, Sieve Opening, ” = 0.312 Standards: ASTM E11 |
| --- | --- |

|  | 8in Dia ASTM Sieve 9.50mm Stainless Steel Mesh. Code: 79-5510 Attributes: Aperture Size = 9.50 mm, Sieve Type = Mesh, Sieve Opening, ” = 0.375 Standards: ASTM E11 |
| --- | --- |

|  | 8in Dia ASTM Sieve 11.2mm Stainless Steel Mesh. Code: 79-5520 Attributes: Aperture Size = 11.20 mm, Sieve Type = Mesh, Sieve Opening, ” = 0.438 Standards: ASTM E11 |
| --- | --- |

|  | 8in Dia ASTM Sieve 12.5mm Stainless Steel Mesh. Code: 79-5530 Attributes: Aperture Size = 12.50 mm, Sieve Type = Mesh, Sieve Opening, ” = 0.5 Standards: ASTM E11 |
| --- | --- |

|  | 8in Dia ASTM Sieve 16.0mm Stainless Steel Mesh. Code: 79-5550 Attributes: Aperture Size = 16 mm, Sieve Type = Mesh, Sieve Opening, ” = 0.625 Standards: ASTM E11 |
| --- | --- |

|  | 8in Dia ASTM Sieve 19.0mm Stainless Steel Mesh. Code: 79-5560 Attributes: Aperture Size = 19 mm, Sieve Type = Mesh, Sieve Opening, ” = 0.75 Standards: ASTM E11 |
| --- | --- |

|  | 8in Dia ASTM Sieve 22.4mm Stainless Steel Mesh. Code: 79-5570 Attributes: Aperture Size = 22.40 mm, Sieve Type = Mesh, Sieve Opening, ” = 0.875 Standards: ASTM E11 |
| --- | --- |

|  | 8in Dia ASTM Sieve 25.0mm Stainless Steel Mesh. Code: 79-5580 Attributes: Aperture Size = 25 mm, Sieve Type = Mesh, Sieve Opening, ” = 1 Standards: ASTM E11 |
| --- | --- |

|  | Coarse Sieve - 8" Dia. Standard Opening 31.5 mm Code: 79-5600 Attributes: Sieve Opening, ” = 1.25, Description = Coarse Sieve - 8″ Dia. Standard Opening 31.5 mm Standards: ASTM E11 |
| --- | --- |

|  | 8in Dia ASTM Sieve 37.5mm Stainless Steel Mesh. Code: 79-5610 Attributes: Aperture Size = 37.50 mm, Sieve Type = Mesh, Sieve Opening, ” = 1.5 Standards: ASTM E11 |
| --- | --- |

|  | Coarse Sieve - 8" Dia. Standard Opening 45 mm Code: 79-5620 Attributes: Sieve Opening, ” = 1.75, Description = Coarse Sieve - 8″ Dia. Standard Opening 45 mm Standards: ASTM E11 |
| --- | --- |

|  | 8in Dia ASTM Sieve 50.0mm Stainless Steel Mesh. Code: 79-5630 Attributes: Aperture Size = 50 mm, Sieve Type = Mesh, Sieve Opening, ” = 2 Standards: ASTM E11 |
| --- | --- |

|  | 8in Dia ASTM Sieve 63.0mm Stainless Steel Mesh. Code: 79-5650 Attributes: Aperture Size = 63 mm, Sieve Type = Mesh, Sieve Opening, ” = 2.5 Standards: ASTM E11 |
| --- | --- |

|  | 8in Dia ASTM Sieve 75.0mm Stainless Steel Mesh. Code: 79-5660 Attributes: Aperture Size = 75 mm, Sieve Type = Mesh, Sieve Opening, ” = 3 Standards: ASTM E11 |
| --- | --- |

|  | Coarse Sieve - 8" Dia. Standard Opening 90 mm Code: 79-5670 Attributes: Sieve Opening, ” = 3.5, Description = Coarse Sieve - 8″ Dia. Standard Opening 90 mm Standards: ASTM E11 |
| --- | --- |

|  | Coarse Sieve - 8" Dia. Standard Opening 100 mm Code: 79-5680 Attributes: Sieve Opening, ” = 4, Description = Coarse Sieve - 8″ Dia. Standard Opening 100 mm Standards: ASTM E11 |
| --- | --- |

|  | 12in Dia ASTM Sieve 6.30mm Stainless Steel Mesh. Non Standard Frame. Code: 79-5800 Attributes: Aperture Size = 6.30 mm, Sieve Type = Mesh, Sieve Opening, ” = 0.25 Standards: ASTM E11 |
| --- | --- |

|  | 12in Dia ASTM Sieve 5.60mm Stainless Steel Mesh. Non Standard Frame. Code: 79-5810 Attributes: Aperture Size = 5.60 mm, Sieve Type = Mesh, Sieve Opening, ” = 0.223 Standards: ASTM E11 |
| --- | --- |

|  | 12in Dia ASTM Sieve 4.75mm Stainless Steel Mesh. Non Standard Frame. Code: 79-5820 Attributes: Aperture Size = 4.75 mm, Sieve Type = Mesh, Sieve Opening, ” = 0.187 Standards: ASTM E11 |
| --- | --- |

|  | 12in Dia ASTM Sieve 4.00mm Stainless Steel Mesh. Code: 79-5830 Attributes: Aperture Size = 4 mm, Sieve Type = Mesh, Sieve Opening, ” = 0.157 Standards: ASTM E11 |
| --- | --- |

|  | 12in Dia ASTM Sieve 3.35mm Stainless Steel Mesh. Code: 79-5840 Attributes: Aperture Size = 3.35 mm, Sieve Type = Mesh, Sieve Opening, ” = 0.132 Standards: ASTM E11 |
| --- | --- |

|  | 12in Dia ASTM Sieve 2.36mm Stainless Steel Mesh. Code: 79-5860 Attributes: Aperture Size = 2.36 mm, Sieve Type = Mesh, Sieve Opening, ” = 0.0937 Standards: ASTM E11 |
| --- | --- |

|  | 12in Dia ASTM Sieve 2.0mm Stainless Steel Mesh. Code: 79-5870 Attributes: Aperture Size = 2 mm, Sieve Type = Mesh, Sieve Opening, ” = 0.0787 Standards: ASTM E11 |
| --- | --- |

|  | 12in Dia ASTM Sieve 1.70mm Stainless Steel Mesh. Code: 79-5880 Attributes: Aperture Size = 1.70 mm, Sieve Type = Mesh, Sieve Opening, ” = 0.0661 Standards: ASTM E11 |
| --- | --- |

|  | 12in Dia ASTM Sieve 1.40mm Stainless Steel Mesh. Code: 79-5890 Attributes: Aperture Size = 1.40 mm, Sieve Type = Mesh, Sieve Opening, ” = 0.0555 Standards: ASTM E11 |
| --- | --- |

|  | 12in Dia ASTM Sieve 1.18mm Stainless Steel Mesh. Code: 79-5900 Attributes: Aperture Size = 1.18 mm, Sieve Type = Mesh, Sieve Opening, ” = 0.0469 Standards: ASTM E11 |
| --- | --- |

|  | 12in Dia ASTM Sieve 1.00mm Stainless Steel Mesh. Code: 79-5910 Attributes: Aperture Size = 1 mm, Sieve Type = Mesh, Sieve Opening, ” = 0.0394 Standards: ASTM E11 |
| --- | --- |

|  | 12in Dia ASTM Sieve 850Mic Stainless Steel Mesh. Code: 79-5920 Attributes: Aperture Size = 850 µm, Sieve Type = Mesh, Sieve Opening, ” = 0.331 Standards: ASTM E11 |
| --- | --- |

|  | 12in Dia ASTM Sieve 710Mic Stainless Steel Mesh. Code: 79-5930 Attributes: Aperture Size = 710 µm, Sieve Type = Mesh, Sieve Opening, ” = 0.0278 Standards: ASTM E11 |
| --- | --- |

|  | 12in Dia ASTM Sieve 600Mic Stainless Steel Mesh. Code: 79-5940 Attributes: Aperture Size = 600 µm, Sieve Type = Mesh, Sieve Opening, ” = 0.0234 Standards: ASTM E11 |
| --- | --- |

|  | 12in Dia ASTM Sieve 500Mic Stainless Steel Mesh. Code: 79-5950 Attributes: Aperture Size = 500 µm, Sieve Type = Mesh, Sieve Opening, ” = 0.0197 Standards: ASTM E11 |
| --- | --- |

|  | 12in Dia ASTM Sieve 425Mic Stainless Steel Mesh. Code: 79-5960 Attributes: Aperture Size = 425 µm, Sieve Type = Mesh, Sieve Opening, ” = 0.0165 Standards: ASTM E11 |
| --- | --- |

|  | 12in Dia ASTM Sieve 355Mic Stainless Steel Mesh. Code: 79-5970 Attributes: Aperture Size = 355 µm, Sieve Type = Mesh, Sieve Opening, ” = 0.0139 Standards: ASTM E11 |
| --- | --- |

|  | 12in Dia ASTM Sieve 300Mic Stainless Steel Mesh. Code: 79-5980 Attributes: Aperture Size = 300 µm, Sieve Type = Mesh, Sieve Opening, ” = 0.0117 Standards: ASTM E11 |
| --- | --- |

|  | 12in Dia ASTM Sieve 250Mic Stainless Steel Mesh. Code: 79-5990 Attributes: Aperture Size = 250 µm, Sieve Type = Mesh, Sieve Opening, ” = 0.0098 Standards: ASTM E11 |
| --- | --- |

|  | 12in Dia ASTM Sieve 212Mic Stainless Steel Mesh. Code: 79-6000 Attributes: Aperture Size = 212 µm, Sieve Type = Mesh, Sieve Opening, ” = 0.0083 Standards: ASTM E11 |
| --- | --- |

|  | 12in Dia ASTM Sieve 180Mic Stainless Steel Mesh. Code: 79-6010 Attributes: Aperture Size = 180 µm, Sieve Type = Mesh, Sieve Opening, ” = 0.007 Standards: ASTM E11 |
| --- | --- |

|  | 12in Dia ASTM Sieve 150Mic Stainless Steel Mesh. Code: 79-6020 Attributes: Sieve Type = Mesh, Aperture Size = 150 µm, Sieve Opening, ” = 0.0059 Standards: ASTM E11 |
| --- | --- |

|  | 12in Dia ASTM Sieve 125Mic Stainless Steel Mesh. Code: 79-6030 Attributes: Sieve Type = Mesh, Aperture Size = 125 µm, Sieve Opening, ” = 0.0049 Standards: ASTM E11 |
| --- | --- |

|  | 12in Dia ASTM Sieve 106Mic Stainless Steel Mesh. Code: 79-6040 Attributes: Sieve Type = Mesh, Aperture Size = 106 µm, Sieve Opening, ” = 0.0041 Standards: ASTM E11 |
| --- | --- |

|  | 12in Dia ASTM Sieve 90 Mic Stainless Steel Mesh. Code: 79-6050 Attributes: Sieve Type = Mesh, Aperture Size = 90 µm, Sieve Opening, ” = 0.0035 Standards: ASTM E11 |
| --- | --- |

|  | 12in Dia ASTM Sieve 75 Mic Stainless Steel Mesh. Code: 79-6060 Attributes: Sieve Type = Mesh, Aperture Size = 75 µm, Sieve Opening, ” = 0.0029 Standards: ASTM E11 |
| --- | --- |

|  | 12in Dia ASTM Sieve 63 Mic Stainless Steel Mesh. Code: 79-6070 Attributes: Sieve Type = Mesh, Aperture Size = 63 µm, Sieve Opening, ” = 0.0025 Standards: ASTM E11 |
| --- | --- |

|  | 12in Dia ASTM Sieve 53 Mic Stainless Steel Mesh. Code: 79-6080 Attributes: Sieve Type = Mesh, Aperture Size = 53 µm, Sieve Opening, ” = 0.0021 Standards: ASTM E11 |
| --- | --- |

|  | 12in Dia ASTM Sieve 45 Mic Stainless Steel Mesh. Code: 79-6090 Attributes: Sieve Type = Mesh, Aperture Size = 45 µm, Sieve Opening, ” = 0.0017 Standards: ASTM E11 |
| --- | --- |

|  | 12in Dia ASTM Sieve 38 Mic Stainless Steel Mesh. Code: 79-6100 Attributes: Sieve Type = Mesh, Aperture Size = 38 µm, Sieve Opening, ” = 0.0015 Standards: ASTM E11 |
| --- | --- |

|  | 12in Dia Lid ASTM. Code: 79-6150 Attributes: Sieve Type = Lid Standards: ASTM E11 |
| --- | --- |

|  | 12in Dia Receiver ASTM. Code: 79-6160 Attributes: Sieve Type = Receiver Standards: ASTM E11 |
| --- | --- |

|  | Sieve Pan with extended rim 12" Dia. Code: 79-6165 Attributes: Description = Sieve Pan with extended rim 12″ Dia. Standards: |
| --- | --- |

|  | 12in Dia ASTM Sieve 8.00mm Stainless Steel Mesh. Code: 79-6200 Attributes: Sieve Type = Mesh, Aperture Size = 8 mm, Sieve Opening, ” = 0.312 Standards: ASTM E11 |
| --- | --- |

|  | 12in Dia ASTM Sieve 9.50mm Stainless Steel Mesh. Code: 79-6210 Attributes: Sieve Type = Mesh, Aperture Size = 9.50 mm, Sieve Opening, ” = 0.375 Standards: ASTM E11 |
| --- | --- |

|  | 12in Dia ASTM Sieve 11.2mm Stainless Steel Mesh. Code: 79-6220 Attributes: Sieve Type = Mesh, Aperture Size = 11.20 mm, Sieve Opening, ” = 0.438 Standards: ASTM E11 |
| --- | --- |

|  | 12in Dia ASTM Sieve 12.5mm Stainless Steel Mesh Code: 79-6230 Attributes: Sieve Type = Mesh, Aperture Size = 12.50 mm, Sieve Opening, ” = 0.5 Standards: ASTM E11 |
| --- | --- |

|  | 12in Dia ASTM Sieve 16.0mm Stainless Steel Mesh. Code: 79-6250 Attributes: Sieve Type = Mesh, Aperture Size = 16 mm, Sieve Opening, ” = 0.625 Standards: ASTM E11 |
| --- | --- |

|  | 12in Dia ASTM Sieve 19.0mm Stainless Steel Mesh. Code: 79-6260 Attributes: Sieve Type = Mesh, Aperture Size = 19 mm, Sieve Opening, ” = 0.75 Standards: ASTM E11 |
| --- | --- |

|  | 12in Dia ASTM Sieve 22.4mm Stainless Steel Mesh. Code: 79-6270 Attributes: Sieve Type = Mesh, Aperture Size = 22.40 mm, Sieve Opening, ” = 0.875 Standards: ASTM E11 |
| --- | --- |

|  | 12in Dia ASTM Sieve 25.0mm Stainless Steel Mesh. Code: 79-6280 Attributes: Sieve Type = Mesh, Aperture Size = 25 mm, Sieve Opening, ” = 1 Standards: ASTM E11 |
| --- | --- |

|  | 12in Dia ASTM Sieve 31.5mm Stainless Steel Mesh. Code: 79-6300 Attributes: Sieve Type = Mesh, Aperture Size = 31.50 mm, Sieve Opening, ” = 1.25 Standards: ASTM E11 |
| --- | --- |

|  | 12in Dia ASTM Sieve 37.5mm Stainless Steel Mesh. Code: 79-6310 Attributes: Sieve Type = Mesh, Aperture Size = 37.50 mm, Sieve Opening, ” = 1.5 Standards: ASTM E11 |
| --- | --- |

|  | 12in Dia ASTM Sieve 45.0mm Stainless Steel Mesh. Code: 79-6320 Attributes: Sieve Type = Mesh, Aperture Size = 45 mm, Sieve Opening, ” = 1.75 Standards: ASTM E11 |
| --- | --- |

|  | 12in Dia ASTM Sieve 50.0mm Stainless Steel Mesh. Code: 79-6330 Attributes: Sieve Type = Mesh, Aperture Size = 50 mm, Sieve Opening, ” = 2 Standards: ASTM E11 |
| --- | --- |

|  | 12in Dia ASTM Sieve 63.0mm Stainless Steel Mesh Code: 79-6350 Attributes: Sieve Type = Mesh, Aperture Size = 63 mm, Sieve Opening, ” = 2.5 Standards: ASTM E11 |
| --- | --- |

|  | 12in Dia ASTM Sieve 75.0mm Stainless Steel Mesh. Code: 79-6360 Attributes: Sieve Type = Mesh, Aperture Size = 75 mm, Sieve Opening, ” = 3 Standards: ASTM E11 |
| --- | --- |

|  | 12in Dia ASTM Sieve 90.0mm Stainless Steel Mesh. Non Standard Frame. Code: 79-6370 Attributes: Sieve Type = Mesh, Aperture Size = 90 mm, Sieve Opening, ” = 3.5 Standards: ASTM E11 |
| --- | --- |

|  | 12in Dia ASTM Sieve 100mm Stainless Steel Mesh. Non Standard Frame. Code: 79-6380 Attributes: Sieve Type = Mesh, Aperture Size = 100 mm, Sieve Opening, ” = 4 Standards: ASTM E11 |
| --- | --- |