Determination of the Shape Index

|  | 3.1 Shape Index Caliper. Code: 42-0821 Attributes: Weight, kg = 1, Description = 3:1 Shape Index Calliper Standards: EN 933-4 |
| --- | --- |

|  | Vernier Caliper Range 0 to 200mm X 0.02mm. Code: 81-0588 Attributes: Description = Vernier caliper, Measuring Range mm = 0 - 200 mm x 0.02 mm Standards: EN 933-4, BS 1377 |
| --- | --- |

|  | Vernier Caliper (LCD) Range 0 to 200mm X 0.01mm Code: 81-0590 Attributes: Description = Vernier caliper, Weight, kg = 0.1, Measuring Range mm = 0 - 200 x 0.01 mm Standards: EN 933-4 |
| --- | --- |