Dial Thermometers

|  | Dial Thermometer, 25° to 125°F x 1.0° and -5° to 50°C x 0.5°. Code: 88-4450 Attributes: Dimensions, diameter x length, ” = 1-3/4 x 8, Description = Dial Thermometer, 25° to 125°F x 1.0° and -5° to 50°C x 0.5°. Standards: |
| --- | --- |

|  | Dial Thermometer, 0° to 220°F x 2.0° and -10° to 100°C x 1.0°. Code: 88-4452 Attributes: Dimensions, diameter x length, ” = 1-3/4 x 8, Description = Dial Thermometer, 0° to 220°F x 2.0° and -10° to 100°C x 1.0°. Standards: |
| --- | --- |

|  | Dial Thermometer, 50° to 300°F x 2.0° and 10° to 150°C x 1.0°. Code: 88-4454 Attributes: Dimensions, diameter x length, ” = 1-3/4 x 8, Description = Dial Thermometer, 50° to 300°F x 2.0° and 10° to 150°C x 1.0°. Standards: |
| --- | --- |

|  | Dial Thermometer, 50° to 500°F x 5.0° and 5° to 260°C x 5.0°. Code: 88-4456 Attributes: Dimensions, diameter x length, ” = 1-3/4 x 8, Description = Dial Thermometer, 50° to 500°F x 5.0° and 5° to 260°C x 5.0°. Standards: |
| --- | --- |